## 1_Raw_and_Fit
Sample | Dilution f | xi = xi0/f | Observed p* | Model p* | Residual
Point 1 | inf (zero std) | — (xi=0) | 0.7263 | 0.71917 | 0.0071329
Point 2 | 10 | 0.3365 | 0.6667 | 0.6571 | 0.0096
Point 3 | 5 | 0.6731 | 0.5909 | 0.60489 | -0.013994
Point 4 | 3.3333 | 1.0096 | 0.5556 | 0.56037 | -0.0047714
Point 5 | 2 | 1.6827 | 0.4694 | 0.48847 | -0.019067
Point 6 | 1 | 3.3653 | 0.3942 | 0.36983 | 0.024374
R-squared |  |  |  | 0.9825
Durbin-Watson |  |  |  | 2.0764
Zero std residual (model - actual) |  |  |  | -0.0071329

## 2_Fit_Parameters
Parameter | Value | Asymptotic SE | Note
kappa | 620.3594 | 1942237.2395 | Unidentifiable (one-sided bound)
xi_0 | 3.3653 | 5.4701
xi_star | 2.562 | 3.5715
R-squared | 0.9825 | —
RMSE | 0.014828 | —
Durbin-Watson | 2.0764 | — | DW≈2: no autocorrelation
Physical interpretation:
The displacement curve lies in the kappa-independent (zero-depletion) | regime: its shape constrains the dimensionless ratios xi_0 and xi_star | but not the absolute molecular scale, so kappa is reported as a | one-sided lower bound (scan-based, see 4_Kappa_Scan).
This is direct experimental evidence of scale degeneracy; the same | one-sided reporting protocol is used for kappa_3 of the | three-concentration ELISA dataset (SI Table 1).

## 3_Bootstrap_CI
Parameter | Point est. | 2.5% | 97.5% | Width (log10)
kappa | 620.3594 | 0.11647 | 4016.6655 | 4.5377
xi_0 | 3.3653 | 2.2103 | 16.4622 | —
xi_star | 2.562 | 2.0689 | 8.8907 | —
κ CI spans 4.5 orders of magnitude; reported as κ ≥ 0.12

## 4_Kappa_Scan
kappa (fixed) | R-squared | xi_0 | xi_star | Note
0.001 | 0.78457 | 1433.6692 | 670.6367 | OK
0.01 | 0.86454 | 142.9375 | 70.7272 | OK
0.1 | 0.95956 | 15.6422 | 9.5207 | OK
1 | 0.98055 | 4.4728 | 3.2639 | OK
10 | 0.98232 | 3.4724 | 2.6313 | OK
100 | 0.98249 | 3.3744 | 2.5679 | OK
1000 | 0.9825 | 3.3647 | 2.5616 | OK
10000 | 0.98251 | 3.3635 | 2.5608 | OK
Plateau: κ ≥ 1 → R² ≥ 0.98 (κ-independent regime)
Physical conclusion: data constrain κ ≥ 1 (one-sided)

## 5_FixedKappa_Test
Test | κ value | R² | ΔR² from free
Free fit | 620.4 | 0.9825 | 0
Fixed κ=0.1 (Strong-depletion limit) | 0.1 | 0.95956 | -0.022946
Fixed κ=1.0 (Intermediate) | 1 | 0.98055 | -0.0019507

## 6_Bootstrap_Summary
Statistic | kappa | xi_0 | xi_star
N successful | 2000 | 2000 | 2000
Median | 794.4657 | 3.3639 | 2.5831
Mean | 1061.43 | 4.3419 | 2.9792
Std | 916.1904 | 5.5296 | 2.3444
Min | 0.017691 | 1.1792 | 1.4367
Max | 7374.3746 | 76.5598 | 36.9935