## 1_Raw_Training
Concentration (pg/mL) | n_obs (beads) | AEB_raw | k_train (positive beads) | P_train | mu_train (TCS) | mu_train_4pl
0 | 29568 | 0.0029 | 85.623 | 0.0028958 | 0 | 0
0 | 33529 | 0.0037 | 123.8281 | 0.0036932 | 0 | 0
0.0328 | 31110 | 0.0255 | 783.2758 | 0.025178 | 0.18992 | 0.15194
0.0328 | 30257 | 0.0268 | 800.1181 | 0.026444 | 0.18992 | 0.15194
0.0984 | 27297 | 0.0655 | 1730.6558 | 0.063401 | 0.56977 | 0.45582
0.0984 | 33491 | 0.0687 | 2223.5773 | 0.066393 | 0.56977 | 0.45582
0.296 | 23171 | 0.1807 | 3830.497 | 0.16531 | 1.714 | 1.3712
0.296 | 35706 | 0.197 | 6384.5672 | 0.17881 | 1.714 | 1.3712
0.888 | 31713 | 0.5426 | 13280.2921 | 0.41876 | 5.1419 | 4.1135
0.888 | 30509 | 0.5826 | 13471.4161 | 0.44156 | 5.1419 | 4.1135
2.664 | 31098 | 1.6441 | 25090.2908 | 0.80681 | 15.4256 | 12.3405
2.664 | 30145 | 1.7458 | 24884.5369 | 0.82549 | 15.4256 | 12.3405
8 | 22988 | 4.4611 | 22722.4966 | 0.98845 | 46.3231 | 37.0585
8 | 22866 | 4.8785 | 22692.0259 | 0.99239 | 46.3231 | 37.0585
24 | 28320 | 13.2759 | 28319.9514 | 1 | 138.9692 | 111.1754
24 | 28760 | 12.3785 | 28759.879 | 1 | 138.9692 | 111.1754

## 2_Raw_Test
Test sample # | test_n (beads) | test_AEB_raw | test_k (positive beads)
1 | 29071 | 0.2366 | 6125
2 | 33328 | 0.27244 | 7948
3 | 28472 | 2.6172 | 26393.3188
4 | 28456 | 2.5644 | 26265.9644
5 | 20960 | 0.058197 | 1185
6 | 24727 | 0.058413 | 1403
7 | 25139 | 0.35136 | 7448
8 | 27922 | 0.36993 | 8634
9 | 22721 | 0.10277 | 2219
10 | 22127 | 0.10608 | 2227
11 | 24019 | 0.12617 | 2847
12 | 20192 | 0.12558 | 2383
13 | 22124 | 0.33779 | 6342
14 | 21902 | 0.34098 | 6328
15 | 25262 | 0.093416 | 2253
16 | 27985 | 0.09299 | 2485
17 | 26420 | 2.396 | 24013.6774
18 | 23602 | 2.2728 | 21170.4048
19 | 27587 | 0.33734 | 7899
20 | 26023 | 0.34979 | 7681
21
22
23
24
25 | 18699 | 16.7462 | 18698.999
26 | 18713 | 16.345 | 18712.9985
27 | 23020 | 0.41737 | 7855
28 | 24709 | 0.42142 | 8497
29 | 16844 | 18.3559 | 16843.9998
30 | 16167 | 18.7763 | 16166.9999
31 | 20085 | 3.4546 | 19450.3166
32 | 20342 | 3.5734 | 19771.1731
33 | 19173 | 5.8473 | 19117.6329
34 | 19937 | 6.32 | 19901.1147
35 | 23344 | 9.983 | 23342.922
36 | 24012 | 9.974 | 24010.8811
37 | 17073 | 6.9533 | 17056.6866
38 | 17136 | 6.8398 | 17117.6587
39 | 24776 | 2.0099 | 21455.8667
40 | 21719 | 2.2728 | 19481.5269
41 | 24918 | 11.4706 | 24917.74
42 | 24142 | 11.6721 | 24141.7941
43 | 24784 | 3.9126 | 24288.5909
44 | 22893 | 4.225 | 22558.1978
45 | 23404 | 8.4397 | 23398.9419
46 | 26483 | 9.3405 | 26480.675
47 | 23871 | 7.7491 | 23860.7081
48 | 16792 | 7.7964 | 16785.0946
49 | 24276 | 0.72913 | 12567
50 | 31450 | 0.74396 | 16504
51 | 22859 | 1.0918 | 15187
52 | 22096 | 1.159 | 15162
53 | 20070 | 0.38103 | 6359
54 | 21347 | 0.36036 | 6459
55 | 21735 | 0.30048 | 5641
56 | 28879 | 0.3094 | 7685
57 | 26687 | 10.0901 | 26685.8928
58 | 31241 | 9.986 | 31239.5617
59 | 25211 | 3.6447 | 24552.2522
60 | 28192 | 3.8179 | 27572.521
61 | 30914 | 1.3125 | 22593.7576
62 | 31997 | 1.2657 | 22972.7534
63 | 30768 | 0.49113 | 11940
64 | 29375 | 0.48994 | 11378
65 | 19332 | 0.16466 | 2935
66 | 33952 | 0.16166 | 5068
67 | 27176 | 0.060328 | 1591
68 | 25337 | 0.061404 | 1509
69 | 28955 | 0.022457 | 643
70 | 29381 | 0.02105 | 612
71 | 27738 | 0.004046 | 112
72 | 31775 | 0.0039417 | 125

## 3_Training_Predictions
Concentration (pg/mL) | AEB_observed | AEB_pred_4PL | resid_4PL | P_pred_TCS | AEB_pred_TCS | resid_TCS
0 | 0.0029 | 0.0033 | -0.0004 | 0.003712 | 0.0037189 | -0.0008189
0 | 0.0037 | 0.0033 | 0.0004 | 0.003712 | 0.0037189 | -1.8897e-05
0.0328 | 0.0255 | 0.02427 | 0.0012304 | 0.019984 | 0.024304 | 0.0011964
0.0328 | 0.0268 | 0.02427 | 0.0025304 | 0.019984 | 0.024304 | 0.0024964
0.0984 | 0.0655 | 0.066363 | -0.00086307 | 0.051736 | 0.065473 | 2.7128e-05
0.0984 | 0.0687 | 0.066363 | 0.0023369 | 0.051736 | 0.065473 | 0.0032271
0.296 | 0.1807 | 0.19314 | -0.012441 | 0.1413 | 0.18948 | -0.0087829
0.296 | 0.197 | 0.19314 | 0.0038586 | 0.1413 | 0.18948 | 0.0075171
0.888 | 0.5426 | 0.57033 | -0.027725 | 0.36209 | 0.56101 | -0.018411
0.888 | 0.5826 | 0.57033 | 0.012275 | 0.36209 | 0.56101 | 0.021589
2.664 | 1.6441 | 1.6715 | -0.027395 | 0.73847 | 1.6756 | -0.031495
2.664 | 1.7458 | 1.6715 | 0.074305 | 0.73847 | 1.6756 | 0.070205
8 | 4.4611 | 4.7094 | -0.24832 | 0.98205 | 5.0244 | -0.56327
8 | 4.8785 | 4.7094 | 0.16908 | 0.98205 | 5.0244 | -0.14587
24 | 13.2759 | 11.891 | 1.3849 | 0.99999 | 15.0657 | -1.7898
24 | 12.3785 | 11.891 | 0.48752 | 0.99999 | 15.0657 | -2.6872

## 4_Fit_Parameters
Parameter | Value | Note
A_4pl (fixed from blank) | 0.0033 | Lower asymptote
B_4pl (slope) | 1.003
C_4pl (midpoint) | 349.3848 | pg/mL × scale
D_4pl (upper asymptote) | 49.3785
κ_tcs (depletion) | 8.2265 | Mid-conc identifiable
b_tcs (background) | 0.003712 | Non-specific binding
Mw (Da) | 26000 | IL-6 molecular weight
V (assay volume) | 0.000125 | Liters
N_total (beads) | 500000 | TCS normalization

## 5_Bootstrap_CI
Model | Parameter | Point | 2.5% | 97.5% | Width | Relative width
4PL | B | 1.003 | 0.98629 | 1.0214 | 0.035152 | 0.035046
4PL | C | 349.3848 | 348.8109 | 349.8923 | 1.0815 | 0.0030953
4PL | D | 49.3785 | 45.5782 | 53.659 | 8.0808 | 0.16365
TCS | kappa | 8.2265 | 7.9763 | 8.5836 | 0.60732 | 0.073824
TCS | b | 0.003712 | 0.0030839 | 0.0068355 | 0.0037516 | 1.0107
Correlations ρ (bootstrap)
4PL | ρ(B, C) | -0.060775
4PL | ρ(B, D) | 0.77172
4PL | ρ(C, D) | 0.50992
TCS | ρ(κ, b) | 0.35292
Case resampling | 4PL | 14 nonblank wells
Case resampling | TCS | All 16 wells, including the blank

## 6_Model_Comparison
Metric | 4PL | TCS | Winner / Note
quasi-logL (binomial-form) | -124799.5106 | -124824.2761 | Higher = better; AEB-derived effective counts
AICc (descriptive, quasi) | 249607.0211 | 249653.4752 | Lower within the same quasi-likelihood
BIC (descriptive, quasi) | 249607.3389 | 249654.0973 | Lower within the same quasi-likelihood
R² (weighted, AEB scale) | 0.99842 | 0.9977 | Higher = better
Shapiro-Wilk p (quasi-deviance residuals) | 0.63399 | 0.88825 | Descriptive residual diagnostic

## 7_LOO_Stats
Metric | Value | Note
4PL LOO failures | 0 | out of 16 wells
TCS LOO failures | 0 | out of 16 wells
LOO total predictive quasi-score (4PL) | -124865.3817 | Sum of held-out quasi-log-likelihoods
LOO total predictive quasi-score (TCS) | -124854.6934 | Sum of held-out quasi-log-likelihoods
Mean Δ predictive quasi-score (4PL - TCS) | -0.66802 | Positive = 4PL higher; negative = TCS higher
SE of diff | 1.9917
t-statistic | -0.33541 | Paired t-test on predictive quasi-scores
TOST margin (±quasi-logL) | 78.0342 | 1% of mean per-fold ¦quasi-logL¦
Mean diff 90% CI | [-4.160, 2.823]
TOST p | 1.1102e-16 | EQUIVALENT
Smallest passing margin (quasi-logL) | 4.1595 | 0.053% of per-fold ¦quasi-logL¦

## 8_Clinical_Reference
Reference | Value (pg/mL) | Source
Manufacturer LOD | 0.0055 | Quoted by manufacturer
Analytical LLOQ | 0.01 | Quoted by manufacturer
Functional LLOQ (4× LOD) | 0.04 | Quoted by manufacturer
Plasma lower bound (normal) | 0.607 | Reference range
Plasma mean (normal) | 1.79 | Reference range
Plasma upper bound (normal) | 4.64 | Reference range
Highest calibrator | 24 | Standard curve

## 18_Clinical_BackCalc
Clinical validation: back-calculation from test_AEB (34 samples, QC excluded)
Dilution: first 26 samples = 4x, last 8 = 1x; all × 1.25 (100→125 μL)
Sample | AEB_mean | P_pos | Dilution | 4PL (pg/mL) | R2 (pg/mL) | R3 (pg/mL) | R1 (pg/mL) | Roche (pg/mL)
1 | 0.0583 | 0.056638 | 4 | 0.3434 | 0.4349 | 0.4232 | 0.4261 | 0
2 | 0.3606 | 0.30278 | 4 | 2.2321 | 2.8437 | 2.3915 | 2.7914 | 0
3 | 0.1044 | 0.099156 | 4 | 0.6307 | 0.8023 | 0.7632 | 0.7853 | 1.87
4 | 0.1259 | 0.11827 | 4 | 0.7644 | 0.9732 | 0.9161 | 0.9525 | 2.1
5 | 0.3394 | 0.28779 | 4 | 2.0987 | 2.6743 | 2.2717 | 2.6242 | 6.63
6 | 0.0932 | 0.088991 | 4 | 0.5608 | 0.7129 | 0.682 | 0.6978 | 7.5
7 | 2.3344 | 0.90313 | 4 | 15.0845 | 18.5688 | 7.1925 | 18.8719 | 51.4
8 | 0.3436 | 0.29076 | 4 | 2.1249 | 2.7076 | 2.2955 | 2.657 | 7
9 |  |  | 4 | NaN | NaN | NaN | NaN | 1865
10 |  |  | 4 | NaN | NaN | NaN | NaN | 1037
11 | 16.5456 | 1 | 4 | 152.316 | NaN | 7.9671 | 179.2076 | 558.8
12 | 0.4194 | 0.34255 | 4 | 2.6009 | 3.3117 | 2.7097 | 3.2539 | 9.93
13 | 18.5661 | 1 | 4 | 182.0306 | NaN | 7.9671 | 210.5955 | 532.8
14 | 3.514 | 0.97022 | 4 | 23.2715 | 27.9666 | 7.729 | 29.0466 | 66.82
15 | 6.0836 | 0.99772 | 4 | 42.6198 | 48.4393 | 7.9489 | 52.8337 | 123.6
16 | 9.9785 | 0.99995 | 4 | 76.697 | 79.4699 | 7.9667 | 93.7366 | 264.7
17 | 6.8965 | 0.99899 | 4 | 49.221 | 54.9157 | 7.959 | 60.86 | 150.9
18 | 2.1414 | 0.8825 | 4 | 13.7825 | 17.0308 | 7.0275 | 17.2482 | 45.37
19 | 11.5714 | 0.99999 | 4 | 92.639 | 92.1605 | 7.967 | 112.3923 | 327.6
20 | 4.0688 | 0.9829 | 4 | 27.2664 | 32.387 | 7.8304 | 33.9886 | 95.15
21 | 8.8901 | 0.99986 | 4 | 66.5203 | 70.7987 | 7.966 | 81.663 | 283
22 | 7.7727 | 0.99958 | 4 | 56.6219 | 61.8963 | 7.9637 | 69.8015 | 178.2
23 | 0.7365 | 0.52123 | 4 | 4.6053 | 5.8385 | 4.1385 | 5.7673 | 14.79
24 | 1.1254 | 0.67547 | 4 | 7.095 | 8.9363 | 5.3719 | 8.8874 | 29.54
25 | 0.3707 | 0.30974 | 4 | 2.2951 | 2.9237 | 2.4473 | 2.8704 | 6.1
26 | 0.3049 | 0.26283 | 4 | 1.8829 | 2.3998 | 2.0721 | 2.3537 | 4.19
27 | 10.0381 | 0.99996 | 1 | 19.3176 | 19.9862 | 1.9917 | 23.6032 | 50
28 | 3.7313 | 0.97604 | 1 | 6.2062 | 7.4245 | 1.9439 | 7.7425 | 16.67
29 | 1.2891 | 0.72449 | 1 | 2.0387 | 2.5602 | 1.441 | 2.5536 | 5.56
30 | 0.4905 | 0.3877 | 1 | 0.7621 | 0.9696 | 0.7677 | 0.9538 | 1.85
31 | 0.1632 | 0.15055 | 1 | 0.2492 | 0.3176 | 0.2936 | 0.3109 | 0.62
32 | 0.0609 | 0.059051 | 1 | 0.0898 | 0.1138 | 0.1106 | 0.1115 | 0.21
33 | 0.0218 | 0.021519 | 1 | 0.0289 | 0.0359 | 0.0356 | 0.0355 | 0.07
34 | 0.004 | 0.003986 | 1 | 0.0011 | 0.0005 | 0.0005 | 0.001 | 0
Summary Statistics
Comparison | n | Slope | 95% CI | R² | Spearman ρ | BA bias % | BA LoA lower % | BA LoA upper %
R2 vs 4PL | 30 | 1.0414 | 1.0171-1.0657 | 0.9961 | 1 | 18.73 | 3.81 | 33.64
4PL vs Roche | 29 | 0.2966 |  | 0.9801 | 0.9788 | -102.6 | -138.4 | -66.81
R2 vs Roche | 27 | 0.2885 |  | 0.9716 | 0.9744 | -88.15 | -132.67 | -43.63
R1 vs Roche | 29 | 0.3497 |  | 0.9829 | 0.9778 | -86.27 | -126.97 | -45.58

## 9_TCS_PerPoint
TCS quantification per training well — M_hat with 3 CIs (Delta / Exact / LR)
Conc (pg/mL) | k | n | P_obs | M_hat | CV (%) | Delta_low | Delta_up | BetaQ_low | BetaQ_up | LR_low | LR_up
0.0328 | 783.2758 | 31110 | 0.025178 | 100481.8127 | 4.1833 | 92243.2722 | 108720.3532 | 92384.6642 | 109017.1465 | 92434.4721 | 108913.7994
0.0328 | 800.1181 | 30257 | 0.026444 | 106479.046 | 4.105 | 97912.0923 | 115045.9998 | 98057.4614 | 115351.3145 | 98108.8244 | 115245.0187
0.0984 | 1730.6558 | 27297 | 0.063401 | 285012.0697 | 2.5489 | 270773.4049 | 299250.7344 | 270934.1552 | 299594.3393 | 270996.2475 | 299475.3403
0.0984 | 2223.5773 | 33491 | 0.066393 | 299774.4902 | 2.2425 | 286598.8507 | 312950.1298 | 286729.7757 | 313230.3249 | 286780.8657 | 313133.4154
0.296 | 3830.497 | 23171 | 0.16531 | 816459.2099 | 1.6519 | 790024.352 | 842894.0677 | 790213.109 | 843323.026 | 790303.7745 | 843175.0114
0.296 | 6384.5672 | 35706 | 0.17881 | 891655.2896 | 1.2777 | 869326.8576 | 913983.7215 | 869449.138 | 914264.1594 | 869509.9209 | 914167.5602
0.888 | 13280.2921 | 31713 | 0.41876 | 2485996.7101 | 0.8845 | 2442899.787 | 2529093.6332 | 2443036.0069 | 2529480.5001 | 2443152.7086 | 2529347.4563
0.888 | 13471.4161 | 30509 | 0.44156 | 2670526.9671 | 0.87943 | 2624496.6124 | 2716557.3218 | 2624638.0235 | 2716969.8538 | 2624766.2895 | 2716827.9826
2.664 | 25090.2908 | 31098 | 0.80681 | 7567498.6623 | 0.70646 | 7462716.3801 | 7672280.9445 | 7462846.1131 | 7673178.1745 | 7463301.0519 | 7672869.5108
2.664 | 24884.5369 | 30145 | 0.82549 | 8036666.8407 | 0.71908 | 7923400.5098 | 8149933.1717 | 7923533.0855 | 8150942.2364 | 7924057.5877 | 8150595.0142
8 | 22722.4966 | 22988 | 0.98845 | 20563042.0117 | 1.3689 | 20011348.2438 | 21114735.7796 | 20011604.87 | 21132377.3635 | 20022383.0477 | 21126214.1539
8 | 22692.0259 | 22866 | 0.99239 | 22488615.2436 | 1.5493 | 21805718.6639 | 23171511.8232 | 21806184.9392 | 23198529.6104 | 21822414.4463 | 23189045.5189
24 | 28319.9514 | 28320 | 1 | 61227974.7475 | 34.185 | 20204376.9662 | 102251572.5288 | 41128245.0173 | 127469087.7487 | 43736193.79
24 | 28759.879 | 28760 | 1 | 57088038.4316 | 23.2287 | 31097369.7075 | 83078707.1557 | 41022063.1561 | 127469087.7487 | 43300732.096

## 10_TCS_TestSet
TCS quantification on the 68-sample test set (CV + CI)
Index | AEB | n | k | P_obs | M_hat | CV (%) | Delta_low | Delta_up | BetaQ_low | BetaQ_up | LR_low | LR_up
0 | 0.2366 | 29071 | 6125 | 0.21069 | 1074328.6371 | 1.3012 | 1046930.2339 | 1101727.0402 | 1047080.3399 | 1102079.177 | 1047160.0479 | 1101957.8626
1 | 0.27244 | 33328 | 7948 | 0.23848 | 1239662.8481 | 1.1407 | 1211946.6166 | 1267379.0796 | 1212077.3599 | 1267692.3072 | 1212151.2134 | 1267584.4762
2 | 2.6172 | 28472 | 26393.3188 | 0.92699 | 12056600.8561 | 0.80803 | 11865659.6069 | 12247542.1053 | 11865784.0954 | 12249884.6671 | 11867174.4451 | 12249076.6601
3 | 2.5644 | 28456 | 26265.9644 | 0.92304 | 11813268.6857 | 0.80172 | 11627642.2422 | 11998895.1291 | 11627767.962 | 12001126.1263 | 11629085.6415 | 12000356.7337
4 | 0.058197 | 20960 | 1185 | 0.056536 | 251323.0542 | 3.1037 | 236034.6915 | 266611.4169 | 236244.2988 | 267058.1384 | 236323.5766 | 266903.0648
5 | 0.058413 | 24727 | 1403 | 0.05674 | 252317.4186 | 2.8517 | 238214.8801 | 266419.957 | 238392.4541 | 266798.3014 | 238459.8788 | 266667.1082
6 | 0.35136 | 25139 | 7448 | 0.29627 | 1603777.7989 | 1.1772 | 1566775.7878 | 1640779.8101 | 1566948.8805 | 1641214.5492 | 1567059.6366 | 1641064.8514
7 | 0.36993 | 27922 | 8634 | 0.30922 | 1689433.8794 | 1.0933 | 1653230.8554 | 1725636.9034 | 1653386.547 | 1726032.4859 | 1653489.2575 | 1725896.3243
8 | 0.10277 | 22721 | 2219 | 0.097663 | 456935.0581 | 2.2035 | 437200.7228 | 476669.3934 | 437393.6785 | 477089.8201 | 437473.8174 | 476944.406
9 | 0.10608 | 22127 | 2227 | 0.10065 | 472212.7148 | 2.1971 | 451878.4727 | 492546.9569 | 452076.603 | 492979.4172 | 452159.3887 | 492829.8435
10 | 0.12617 | 24019 | 2847 | 0.11853 | 564878.1771 | 1.9324 | 543484.2251 | 586272.129 | 543666.5853 | 586674.3804 | 543745.8815 | 586535.4147
11 | 0.12558 | 20192 | 2383 | 0.11802 | 562188.2288 | 2.1124 | 538912.2329 | 585464.2247 | 539129.28 | 585942.9114 | 539223.2938 | 585777.4031
12 | 0.33779 | 22124 | 6342 | 0.28666 | 1541169.2339 | 1.2757 | 1502634.1809 | 1579704.2869 | 1502831.038 | 1580194.5589 | 1502954.1088 | 1580025.6609
13 | 0.34098 | 21902 | 6328 | 0.28892 | 1555849.3447 | 1.2771 | 1516904.7715 | 1594793.918 | 1517103.6137 | 1595290.0863 | 1517228.5413 | 1595119.1554
14 | 0.093416 | 25262 | 2253 | 0.089185 | 413795.0302 | 2.1949 | 395993.6554 | 431596.4051 | 396167.202 | 431972.6648 | 396238.0866 | 431842.5373
15 | 0.09299 | 27985 | 2485 | 0.088798 | 411831.4115 | 2.0903 | 394958.6512 | 428704.1717 | 395115.2667 | 429043.604 | 395179.2868 | 428926.269
16 | 2.396 | 26420 | 24013.6774 | 0.90892 | 11036305.8239 | 0.8124 | 10860577.5314 | 11212034.1163 | 10860717.5265 | 11214090.0958 | 10861908.9382 | 11213381.2507
17 | 2.2728 | 23602 | 21170.4048 | 0.89698 | 10467779.017 | 0.84644 | 10294118.8439 | 10641439.1902 | 10294279.5077 | 10643495.8592 | 10295450.9927 | 10642786.7612
18 | 0.33734 | 27587 | 7899 | 0.28633 | 1539058.1708 | 1.1431 | 1504576.4679 | 1573539.8737 | 1504734.213 | 1573932.7298 | 1504833.0333 | 1573797.4777
19 | 0.34979 | 26023 | 7681 | 0.29516 | 1596502.0523 | 1.1592 | 1560230.8006 | 1632773.304 | 1560397.9995 | 1633192.8531 | 1560504.7627 | 1633048.3985
20 | [10 empty] | 0
21 | [10 empty] | 0
22 | [10 empty] | 0
23 | [10 empty] | 0
24 | 16.7462 | 18699 | 18698.999 | 1 | 77237431.4974 | 189.0885 | -209009635.5312 | 363484498.526 | 39335916.6129 | 127469087.7487 | 42328530.4411
25 | 16.345 | 18713 | 18712.9985 | 1 | 75386507.4062 | 158.4577 | -158742389.4718 | 309515404.2843 | 39338071.8661 | 127469087.7487 | 42323305.4349
26 | 0.41737 | 23020 | 7855 | 0.34123 | 1908293.6564 | 1.1467 | 1865403.7682 | 1951183.5446 | 1865592.4839 | 1951677.3058 | 1865726.1522 | 1951507.2998
27 | 0.42142 | 24709 | 8497 | 0.34388 | 1926943.11 | 1.1026 | 1885300.052 | 1968586.1679 | 1885475.7926 | 1969047.2149 | 1885601.1558 | 1968888.5062
28 | 18.3559 | 16844 | 16843.9998 | 1 | 84663490.4978 | 406.4714 | -589824554.8241 | 759151535.8196 | 38856144.9849 | 127469087.7487 | 41862634.6401
29 | 18.7763 | 16167 | 16166.9999 | 1 | 86602704.9792 | 500.4745 | -762893630.0552 | 936099040.0135 | 38667094.0474 | 127469087.7487 | 41674911.697
30 | 3.4546 | 20085 | 19450.3166 | 0.9684 | 15919809.4768 | 1.1319 | 15566622.6319 | 16272996.3217 | 15566798.8275 | 16280438.9668 | 15571364.5251 | 16277857.1036
31 | 3.5734 | 20342 | 19771.1731 | 0.97194 | 16467655.4795 | 1.156 | 16094557.5421 | 16840753.4169 | 16094733.7153 | 16849009.4615 | 16099807.9537 | 16846143.439
32 | 5.8473 | 19173 | 19117.6329 | 0.99711 | 26957809.8612 | 2.2965 | 25744416.2612 | 28171203.4611 | 25747664.7426 | 28258313.3206 | 25795658.2901 | 28227125.2772
33 | 6.32 | 19937 | 19901.1147 | 0.9982 | 29138644.328 | 2.6405 | 27630627.8733 | 30646660.7828 | 27637261.3056 | 30783251.9934 | 27708789.9571 | 30733799.1598
34 | 9.983 | 23344 | 23342.922 | 0.99995 | 46036833.754 | 9.6511 | 37328563.1082 | 54745104.3999 | 38349506.3759 | 61944165.72 | 39392625.3985 | 58564254.7488
35 | 9.974 | 24012 | 24010.8811 | 0.99995 | 45995434.926 | 9.4819 | 37447589.8262 | 54543280.0259 | 38423364.9784 | 61411934.9071 | 39445601.5318 | 58200728.5994
36 | 6.9533 | 17073 | 17056.6866 | 0.99904 | 32060054.7812 | 3.5609 | 29822486.631 | 34297622.9313 | 29845768.1019 | 34611251.8559 | 29989993.1926 | 34494457.7287
37 | 6.8398 | 17136 | 17117.6587 | 0.99893 | 31536498.7453 | 3.4139 | 29426376.6824 | 33646620.8081 | 29445787.5993 | 33923453.0474 | 29576033.7104 | 33820872.475
38 | 2.0099 | 24776 | 21455.8667 | 0.86599 | 9254891.7577 | 0.80504 | 9108864.0198 | 9400919.4956 | 9109021.7106 | 9402465.7915 | 9109868.0665 | 9401933.1236
39 | 2.2728 | 21719 | 19481.5269 | 0.89698 | 10468038.8449 | 0.88238 | 10287001.4235 | 10649076.2662 | 10287176.9515 | 10651312.2581 | 10288448.789 | 10650541.1039
40 | 11.4706 | 24918 | 24917.74 | 0.99999 | 52899714.8225 | 17.1044 | 35165644.9534 | 70633784.6916 | 40047212.0966 | 113933053.5687 | 41937402.4583 | 91598504.4864
41 | 11.6721 | 24142 | 24141.7941 | 0.99999 | 53829190.9129 | 18.887 | 33902761.2676 | 73755620.5581 | 40019405.4954 | 127469087.7487 | 42037768.681 | 101477601.8662
42 | 3.9126 | 24784 | 24288.5909 | 0.98001 | 18032530.7026 | 1.1378 | 17630379.7117 | 18434681.6936 | 17630522.1661 | 18444135.4593 | 17636375.1933 | 18440850.4973
43 | 4.225 | 22893 | 22558.1978 | 0.98538 | 19474067.5304 | 1.2852 | 18983541.1047 | 19964593.9562 | 18983742.8801 | 19978578.2785 | 18992337.9097 | 19973703.5373
44 | 8.4397 | 23404 | 23398.9419 | 0.99978 | 38917212.5191 | 5.2702 | 34897314.0347 | 42937111.0034 | 35029515.0323 | 44068091.2245 | 35405807.6223 | 43616197.602
45 | 9.3405 | 26483 | 26480.675 | 0.99991 | 43073091.0681 | 7.0237 | 37143527.2184 | 49002654.9179 | 37528048.045 | 51793418.8775 | 38184056.8928 | 50593577.4974
46 | 7.7491 | 23871 | 23860.7081 | 0.99957 | 35731276.7615 | 4.0236 | 32913443.7652 | 38549109.7579 | 32960279.7087 | 39064075.172 | 33173614.9138 | 38867886.4289
47 | 7.7964 | 16792 | 16785.0946 | 0.99959 | 35949415.4127 | 4.8824 | 32509311.8612 | 39389518.9643 | 32593878.488 | 40187740.6325 | 32889058.565 | 39876045.8534
48 | 0.72913 | 24276 | 12567 | 0.51767 | 3346509.4194 | 0.91661 | 3286388.8581 | 3406629.9806 | 3286565.7823 | 3407201.204 | 3286761.9827 | 3407004.6935
49 | 0.74396 | 31450 | 16504 | 0.52477 | 3414900.24 | 0.80048 | 3361323.3525 | 3468477.1275 | 3361459.6142 | 3468922.2458 | 3361614.3383 | 3468769.2076
50 | 1.0918 | 22859 | 15187 | 0.66438 | 5019447.5539 | 0.85527 | 4935306.3403 | 5103588.7675 | 4935491.0897 | 5104374.7584 | 4935819.1688 | 5104104.3334
51 | 1.159 | 22096 | 15162 | 0.68619 | 5329422.2823 | 0.86111 | 5239475.593 | 5419368.9717 | 5239666.0715 | 5420224.6169 | 5240033.6446 | 5419930.1891
52 | 0.38103 | 20070 | 6359 | 0.31684 | 1740622.4066 | 1.2741 | 1697157.1902 | 1784087.6231 | 1697374.0106 | 1784642.0456 | 1697518.9358 | 1784451.0418
53 | 0.36036 | 21347 | 6459 | 0.30257 | 1645256.9991 | 1.2641 | 1604495.3521 | 1686018.6461 | 1604699.271 | 1686533.5249 | 1604831.3387 | 1686356.1562
54 | 0.30048 | 21735 | 5641 | 0.25954 | 1369022.7609 | 1.3532 | 1332713.1232 | 1405332.3986 | 1332913.7301 | 1405820.9069 | 1333031.7857 | 1405652.5598
55 | 0.3094 | 28879 | 7685 | 0.26611 | 1410169.4652 | 1.1592 | 1378130.3819 | 1442208.5486 | 1378281.171 | 1442577.8053 | 1378371.5287 | 1442450.671
56 | 10.0901 | 26687 | 26685.8928 | 0.99996 | 46531037.7937 | 9.422 | 37938271.1924 | 55123804.395 | 38926561.1144 | 62083905.68 | 39954675.2306 | 58826063.0436
57 | 9.986 | 31241 | 31239.5617 | 0.99995 | 46051002.4624 | 8.3529 | 38511823.585 | 53590181.3397 | 39226729.4513 | 58604703.6147 | 40113085.9021 | 56327649.2791
58 | 3.6447 | 25211 | 24552.2522 | 0.97387 | 16796755.911 | 1.056 | 16449102.3179 | 17144409.5041 | 16449231.6791 | 17151540.213 | 16453647.3559 | 17149067.2558
59 | 3.8179 | 28192 | 27572.521 | 0.97803 | 17595863.1049 | 1.0417 | 17236595.8201 | 17955130.3896 | 17236707.1947 | 17962687.394 | 17241407.2046 | 17960065.6114
60 | 1.3125 | 30914 | 22593.7576 | 0.73086 | 6037824.8093 | 0.7161 | 5953081.7128 | 6122567.9058 | 5953215.9226 | 6123256.39 | 5953531.0538 | 6123019.6359
61 | 1.2657 | 31997 | 22972.7534 | 0.71797 | 5821967.5564 | 0.70678 | 5741317.9778 | 5902617.135 | 5741448.0228 | 5903258.2363 | 5741736.5261 | 5903037.8019
62 | 0.49113 | 30768 | 11940 | 0.38807 | 2248552.7017 | 0.93144 | 2207503.3672 | 2289602.0363 | 2207644.0464 | 2289988.1839 | 2207755.7787 | 2289855.3621
63 | 0.48994 | 29375 | 11378 | 0.38734 | 2243057.5291 | 0.95414 | 2201110.6499 | 2285004.4083 | 2201258.0351 | 2285408.6094 | 2201374.8245 | 2285269.5623
64 | 0.16466 | 19332 | 2935 | 0.15182 | 742478.0912 | 1.8906 | 714965.0152 | 769991.1672 | 715191.4943 | 770501.3303 | 715296.8972 | 770325.1042
65 | 0.16166 | 33952 | 5068 | 0.14927 | 728622.5953 | 1.4393 | 708067.8244 | 749177.3662 | 708196.571 | 749466.8446 | 708256.6299 | 749367.0599
66 | 0.060328 | 27176 | 1591 | 0.058544 | 261152.2567 | 2.6722 | 247474.8015 | 274829.7119 | 247636.3095 | 275174.0719 | 247698.0021 | 275054.7538
67 | 0.061404 | 25337 | 1509 | 0.059557 | 266118.0997 | 2.7407 | 251823.2724 | 280412.927 | 251996.5315 | 280782.5881 | 252062.779 | 280654.463
68 | 0.022457 | 28955 | 643 | 0.022207 | 86444.4023 | 4.7264 | 78436.5857 | 94452.2189 | 78588.6077 | 94771.0895 | 78641.5726 | 94659.865
69 | 0.02105 | 29381 | 612 | 0.02083 | 79951.8436 | 4.9097 | 72258.1352 | 87645.552 | 72407.9788 | 87959.7012 | 72459.9729 | 87850.074
70 | 0.004046 | 27738 | 112 | 0.0040378 | 1508.8064 | 116.8925 | -1947.9449 | 4965.5576 | 4.6132e-06 | 5302.6614 | 0 | 5182.167
71 | 0.0039417 | 31775 | 125 | 0.0039339 | 1027.6991 | 158.2585 | -2160.0273 | 4215.4254 | 4.6132e-06 | 4509.103 | 0 | 4404.3584

## 11_R3_Analysis
R3 linear approximation per training well — gamma-based M_r3 estimate
Conc_pgmL | P_specific | M_r3 | CV_r3_pct | R3_valid
0 | 1e-12 | 4.6133e-06 | 31365961589.158 | TRUE
0 | 1e-12 | 4.6133e-06 | 33250686389.1378 | TRUE
0.0328 | 0.021546 | 99395.4123 | 4.1379 | TRUE
0.0328 | 0.022817 | 105259.6191 | 4.0578 | TRUE
0.0984 | 0.059911 | 276386.4342 | 2.471 | TRUE
0.0984 | 0.062915 | 290242.2371 | 2.1704 | TRUE
0.296 | 0.1622 | 748290.4152 | 1.5101 | TRUE
0.296 | 0.17575 | 810778.6981 | 1.1582 | TRUE
0.888 | 0.4166 | 1921879.6159 | 0.66748 | FALSE
0.888 | 0.43947 | 2027410.01 | 0.64931 | FALSE
2.664 | 0.80609 | 3718717.7249 | 0.27876 | FALSE
2.664 | 0.82484 | 3805219.1689 | 0.26601 | FALSE
8 | 0.98841 | 4559776.4029 | 0.071563 | FALSE
8 | 0.99236 | 4578026.0666 | 0.058122 | FALSE
24 | 1 | 4613248.4823 | 0.00078117 | FALSE
24 | 1 | 4613236.9397 | 0.0012141 | FALSE

## 12_LoB_LoD_LoQ
Per-well LoB / LoD / LoQ (R2 and R3 formulations)
Well | Conc (pg/mL) | n | R2_LoB | R2_LoD | R2_LoQ_low | R2_LoQ_high | R3_LoB | R3_LoD | R3_LoQ_low
1 | 0 | 29568 | 2701.2353 | 5853.4672 | 10379.0002 | 55589675.7326 | 2693.8506 | 5387.7012 | 10352.9975
2 | 0 | 33529 | 2561.2265 | 5349.1178 | 9609.0268 | 56284201.4913 | 2529.7301 | 5059.4601 | 9586.8694
3 | 0.0328 | 31110 | 2608.4281 | 5668.5196 | 10059.449 | 55870726.4371 | 2626.2404 | 5252.4808 | 10035.0814
4 | 0.0328 | 30257 | 2707.455 | 5821.068 | 10232.7885 | 55717059.0464 | 2663.0023 | 5326.0047 | 10207.5409
5 | 0.0984 | 27297 | 2829.2761 | 5948.2671 | 10905.1483 | 55147286.5453 | 2803.6708 | 5607.3416 | 10876.3312
6 | 0.0984 | 33491 | 2583.6465 | 5522.5714 | 9615.6739 | 56277944.3658 | 2531.1648 | 5062.3296 | 9593.4846
7 | 0.296 | 23171 | 3196.4087 | 6836.4086 | 12082.9329 | 54237874.9871 | 3043.071 | 6086.1421 | 12047.2614
8 | 0.296 | 35706 | 2524.2689 | 5359.5801 | 9248.3571 | 56631102.5842 | 2451.3983 | 4902.7966 | 9227.8898
9 | 0.888 | 31713 | 2670.092 | 5702.9462 | 9941.7162 | 55976786.4969 | 2601.1525 | 5202.305 | 9917.937
10 | 0.888 | 30509 | 2694.8923 | 5793.6611 | 10180.7205 | 55762911.7692 | 2651.9815 | 5303.963 | 10155.739
11 | 2.664 | 31098 | 2616.0711 | 5677.3461 | 10061.8313 | 55868594.5808 | 2626.747 | 5253.4941 | 10037.4517
12 | 2.664 | 30145 | 2781.4158 | 5906.622 | 10256.1677 | 55696554.9215 | 2667.9448 | 5335.8896 | 10230.8001
13 | 8 | 22988 | 3157.2191 | 6591.7429 | 12143.537 | 54193794.4207 | 3055.1595 | 6110.319 | 12107.492
14 | 8 | 22866 | 3063.198 | 6718.7267 | 12184.4051 | 54164207.8696 | 3063.2989 | 6126.5979 | 12148.107
15 | 24 | 28320 | 2760.1954 | 5991.3754 | 10659.212 | 55351040.2716 | 2752.5667 | 5505.1335 | 10631.7294
16 | 24 | 28760 | 2777.0335 | 5982.5541 | 10558.0501 | 55436377.5331 | 2731.4298 | 5462.8596 | 10531.1067

## 13_LOO_PerFold
LOO per-fold predictive quasi-score (quasi-logL): positive Diff = 4PL higher, negative = TCS higher
Fold | 4PL_quasi_logL | TCS_quasi_logL | Diff_quasi_logL(4PL-TCS)
1 | -588.6824 | -593.2903 | 4.6079
2 | -820.5875 | -817.1996 | -3.3879
3 | -3658.4014 | -3658.2192 | -0.1822
4 | -3700.9326 | -3700.2935 | -0.6391
5 | -6448.4356 | -6448.2228 | -0.2128
6 | -8180.7483 | -8181.5184 | 0.7701
7 | -10400.9457 | -10394.1582 | -6.7875
8 | -16768.9001 | -16772.4432 | 3.5431
9 | -21587.9961 | -21571.4567 | -16.5394
10 | -20943.2424 | -20950.9442 | 7.7018
11 | -15269.6208 | -15269.4471 | -0.1737
12 | -13995.8473 | -13982.7857 | -13.0616
13 | -1469.7297 | -1488.1465 | 18.4168
14 | -1028.897 | -1023.9963 | -4.9007
15 | -0.779 | -0.74 | -0.039
16 | -1.6356 | -1.8316 | 0.196

## 14_Reference_CV
Manufacturer concentration -> TCS predicted CV (typical n=mean(n_obs)=29408)
Conc (pg/mL) | M (molecules) | P_pos | CV (%) | Note
0 | 0 | 0.003712 |  | Blank (background only)
0.0055 | 15923.5577 | 0.0071449 | 14.3849 | Manufacturer LOD
0.01 | 28951.9231 | 0.0099449 | 9.3472 | Analytical LLOQ
0.04 | 115807.6923 | 0.028411 | 3.9871 | Functional LLOQ
0.607 | 1757381.7308 | 0.31932 | 1.0524 | Plasma lower
1.79 | 5182394.2308 | 0.67603 | 0.75264 | Plasma mean
4.64 | 13433692.3077 | 0.94583 | 0.83992 | Plasma upper
24 | 69484615.3846 | 1 | 72.6053 | Highest calibrator

## 15_TestSet_BackCalc
Test set 68 samples — back-calculated concentration (4PL vs TCS) — KEY for clinical validation
Test sample # | AEB (raw) | n (beads) | k (positive) | P_obs | Conc_4PL (pg/mL) | Conc_TCS (pg/mL) | Diff_4PL-TCS | ¦log10 ratio¦
1 | 0.2366 | 29071 | 6125 | 0.21069 | 0.36385 | 0.37107 | -0.0072208 | 0.0085343
2 | 0.27244 | 33328 | 7948 | 0.23848 | 0.41987 | 0.42818 | -0.0083069 | 0.0085083
3 | 2.6172 | 28472 | 26393.3188 | 0.92699 | 4.2526 | 4.1644 | 0.088294 | 0.0091118
4 | 2.5644 | 28456 | 26265.9644 | 0.92304 | 4.1624 | 4.0803 | 0.082099 | 0.0086516
5 | 0.058197 | 20960 | 1185 | 0.056536 | 0.08568 | 0.086807 | -0.0011269 | 0.0056748
6 | 0.058413 | 24727 | 1403 | 0.05674 | 0.086016 | 0.08715 | -0.0011346 | 0.0056911
7 | 0.35136 | 25139 | 7448 | 0.29627 | 0.54346 | 0.55395 | -0.010486 | 0.0082999
8 | 0.36993 | 27922 | 8634 | 0.30922 | 0.57258 | 0.58353 | -0.010954 | 0.00823
9 | 0.10277 | 22721 | 2219 | 0.097663 | 0.15511 | 0.15783 | -0.0027202 | 0.0075504
10 | 0.10608 | 22127 | 2227 | 0.10065 | 0.16026 | 0.1631 | -0.0028379 | 0.0076231
11 | 0.12617 | 24019 | 2847 | 0.11853 | 0.19156 | 0.19511 | -0.0035476 | 0.0079693
12 | 0.12558 | 20192 | 2383 | 0.11802 | 0.19065 | 0.19418 | -0.0035271 | 0.0079611
13 | 0.33779 | 22124 | 6342 | 0.28666 | 0.52219 | 0.53232 | -0.010133 | 0.0083468
14 | 0.34098 | 21902 | 6328 | 0.28892 | 0.52717 | 0.53739 | -0.010217 | 0.0083361
15 | 0.093416 | 25262 | 2253 | 0.089185 | 0.14054 | 0.14292 | -0.0023867 | 0.0073135
16 | 0.09299 | 27985 | 2485 | 0.088798 | 0.13988 | 0.14225 | -0.0023715 | 0.0073014
17 | 2.396 | 26420 | 24013.6774 | 0.90892 | 3.8756 | 3.8119 | 0.063636 | 0.0071902
18 | 2.2728 | 23602 | 21170.4048 | 0.89698 | 3.667 | 3.6156 | 0.051385 | 0.0061288
19 | 0.33734 | 27587 | 7899 | 0.28633 | 0.52147 | 0.53159 | -0.010121 | 0.0083483
20 | 0.34979 | 26023 | 7681 | 0.29516 | 0.54099 | 0.55143 | -0.010446 | 0.0083055
21
22
23
24
25 | 16.7462 | 18699 | 18698.999 | 1 | 38.7756
26 | 16.345 | 18713 | 18712.9985 | 1 | 37.3908
27 | 0.41737 | 23020 | 7855 | 0.34123 | 0.64706 | 0.65913 | -0.012069 | 0.0080259
28 | 0.42142 | 24709 | 8497 | 0.34388 | 0.65341 | 0.66557 | -0.012159 | 0.008007
29 | 18.3559 | 16844 | 16843.9998 | 1 | 44.69
30 | 18.7763 | 16167 | 16166.9999 | 1 | 46.3365
31 | 3.4546 | 20085 | 19450.3166 | 0.9684 | 5.7124 | 5.4987 | 0.21369 | 0.016558
32 | 3.5734 | 20342 | 19771.1731 | 0.97194 | 5.9236 | 5.6879 | 0.23569 | 0.017633
33 | 5.8473 | 19173 | 19117.6329 | 0.99711 | 10.1865 | 9.3112 | 0.8753 | 0.039019
34 | 6.32 | 19937 | 19901.1147 | 0.9982 | 11.1285 | 10.0645 | 1.064 | 0.043644
35 | 9.983 | 23344 | 23342.922 | 0.99995 | 19.185 | 15.9011 | 3.2839 | 0.081534
36 | 9.974 | 24012 | 24010.8811 | 0.99995 | 19.1635 | 15.8868 | 3.2766 | 0.081437
37 | 6.9533 | 17073 | 17056.6866 | 0.99904 | 12.4228 | 11.0735 | 1.3492 | 0.049932
38 | 6.8398 | 17136 | 17117.6587 | 0.99893 | 12.188 | 10.8927 | 1.2953 | 0.048797
39 | 2.0099 | 24776 | 21455.8667 | 0.86599 | 3.2254 | 3.1966 | 0.028758 | 0.0038896
40 | 2.2728 | 21719 | 19481.5269 | 0.89698 | 3.6671 | 3.6157 | 0.051391 | 0.0061293
41 | 11.4706 | 24918 | 24917.74 | 0.99999 | 22.8978 | 18.2716 | 4.6263 | 0.098018
42 | 11.6721 | 24142 | 24141.7941 | 0.99999 | 23.423 | 18.5926 | 4.8304 | 0.1003
43 | 3.9126 | 24784 | 24288.5909 | 0.98001 | 6.5329 | 6.2284 | 0.3045 | 0.020729
44 | 4.225 | 22893 | 22558.1978 | 0.98538 | 7.1022 | 6.7263 | 0.37582 | 0.023612
45 | 8.4397 | 23404 | 23398.9419 | 0.99978 | 15.6164 | 13.442 | 2.1744 | 0.065118
46 | 9.3405 | 26483 | 26480.675 | 0.99991 | 17.6663 | 14.8775 | 2.7889 | 0.074618
47 | 7.7491 | 23871 | 23860.7081 | 0.99957 | 14.1045 | 12.3416 | 1.7629 | 0.057987
48 | 7.7964 | 16792 | 16785.0946 | 0.99959 | 14.2065 | 12.4169 | 1.7895 | 0.058471
49 | 0.72913 | 24276 | 12567 | 0.51767 | 1.1396 | 1.1559 | -0.016329 | 0.0061791
50 | 0.74396 | 31450 | 16504 | 0.52477 | 1.1631 | 1.1795 | -0.016394 | 0.0060785
51 | 1.0918 | 22859 | 15187 | 0.66438 | 1.7196 | 1.7337 | -0.014115 | 0.0035502
52 | 1.159 | 22096 | 15162 | 0.68619 | 1.828 | 1.8408 | -0.012819 | 0.0030349
53 | 0.38103 | 20070 | 6359 | 0.31684 | 0.58999 | 0.60121 | -0.011225 | 0.0081854
54 | 0.36036 | 21347 | 6459 | 0.30257 | 0.55756 | 0.56827 | -0.010715 | 0.0082669
55 | 0.30048 | 21735 | 5641 | 0.25954 | 0.46375 | 0.47286 | -0.0091156 | 0.0084538
56 | 0.3094 | 28879 | 7685 | 0.26611 | 0.47771 | 0.48707 | -0.0093649 | 0.0084315
57 | 10.0901 | 26687 | 26685.8928 | 0.99996 | 19.4431 | 16.0718 | 3.3712 | 0.082699
58 | 9.986 | 31241 | 31239.5617 | 0.99995 | 19.1924 | 15.906 | 3.2864 | 0.081568
59 | 3.6447 | 25211 | 24552.2522 | 0.97387 | 6.051 | 5.8016 | 0.24943 | 0.018281
60 | 3.8179 | 28192 | 27572.521 | 0.97803 | 6.362 | 6.0776 | 0.2844 | 0.019862
61 | 1.3125 | 30914 | 22593.7576 | 0.73086 | 2.0767 | 2.0855 | -0.008791 | 0.0018346
62 | 1.2657 | 31997 | 22972.7534 | 0.71797 | 2.0007 | 2.0109 | -0.010176 | 0.0022034
63 | 0.49113 | 30768 | 11940 | 0.38807 | 0.76308 | 0.77665 | -0.013566 | 0.0076529
64 | 0.48994 | 29375 | 11378 | 0.38734 | 0.76121 | 0.77475 | -0.013544 | 0.0076593
65 | 0.16466 | 19332 | 2935 | 0.15182 | 0.25157 | 0.25645 | -0.0048776 | 0.0083396
66 | 0.16166 | 33952 | 5068 | 0.14927 | 0.24689 | 0.25167 | -0.0047755 | 0.0083202
67 | 0.060328 | 27176 | 1591 | 0.058544 | 0.088999 | 0.090202 | -0.0012029 | 0.0058304
68 | 0.061404 | 25337 | 1509 | 0.059557 | 0.090676 | 0.091917 | -0.0012413 | 0.0059048
69 | 0.022457 | 28955 | 643 | 0.022207 | 0.029972 | 0.029858 | 0.0001141 | 0.0016564
70 | 0.02105 | 29381 | 612 | 0.02083 | 0.027776 | 0.027615 | 0.00016031 | 0.0025138
71 | 0.004046 | 27738 | 112 | 0.0040378 | 0.001178 | 0.00052114 | 0.0006569 | 0.3542
72 | 0.0039417 | 31775 | 125 | 0.0039339 | 0.0010138 | 0.00035497 | 0.00065883 | 0.45576
Summary | 4PL | TCS
Min (pg/mL) | 0.0010138 | 0.00035497
Median (pg/mL) | 1.4414 | 0.96627
Max (pg/mL) | 46.3365 | 18.5926
Count NaN (above ULOQ) | 4 | 8
Count = 0 (below LLOQ) | 0 | 0

## 16_Train_RealConc
Training-set real concentrations in pg/mL (TCS scale and 4PL scale)
Concentration (input, pg/mL) | conc_train_real (TCS scale, pg/mL) | conc_train_4pl_real (4PL scale, pg/mL) | Ratio (4PL / TCS)
0 | 0 | 0
0 | 0 | 0
0.0328 | 0.0328 | 0.0328 | 1
0.0328 | 0.0328 | 0.0328 | 1
0.0984 | 0.0984 | 0.0984 | 1
0.0984 | 0.0984 | 0.0984 | 1
0.296 | 0.296 | 0.296 | 1
0.296 | 0.296 | 0.296 | 1
0.888 | 0.888 | 0.888 | 1
0.888 | 0.888 | 0.888 | 1
2.664 | 2.664 | 2.664 | 1
2.664 | 2.664 | 2.664 | 1
8 | 8 | 8 | 1
8 | 8 | 8 | 1
24 | 24 | 24 | 1
24 | 24 | 24 | 1

## 17_LoB_LoD_LoQ_Dist
Per-well LoB / LoD / LoQ in pg/mL (converted from molecules, used for plotting distributions)
Well | R2_LoB (pg/mL) | R2_LoD (pg/mL) | R2_LoQ_low (pg/mL) | R2_LoQ_high (pg/mL) | R3_LoB (pg/mL) | R3_LoD (pg/mL) | R3_LoQ_low (pg/mL)
1 | 0.00093301 | 0.0020218 | 0.0035849 | 19.2007 | 0.00093046 | 0.0018609 | 0.0035759
2 | 0.00088465 | 0.0018476 | 0.003319 | 19.4406 | 0.00087377 | 0.0017475 | 0.0033113
3 | 0.00090095 | 0.0019579 | 0.0034745 | 19.2978 | 0.0009071 | 0.0018142 | 0.0034661
4 | 0.00093516 | 0.0020106 | 0.0035344 | 19.2447 | 0.0009198 | 0.0018396 | 0.0035257
5 | 0.00097723 | 0.0020545 | 0.0037666 | 19.0479 | 0.00096839 | 0.0019368 | 0.0037567
6 | 0.00089239 | 0.0019075 | 0.0033213 | 19.4384 | 0.00087426 | 0.0017485 | 0.0033136
7 | 0.001104 | 0.0023613 | 0.0041734 | 18.7338 | 0.0010511 | 0.0021022 | 0.0041611
8 | 0.00087188 | 0.0018512 | 0.0031944 | 19.5604 | 0.00084671 | 0.0016934 | 0.0031873
9 | 0.00092225 | 0.0019698 | 0.0034339 | 19.3344 | 0.00089844 | 0.0017969 | 0.0034257
10 | 0.00093082 | 0.0020011 | 0.0035164 | 19.2605 | 0.00091599 | 0.001832 | 0.0035078
11 | 0.00090359 | 0.001961 | 0.0034754 | 19.297 | 0.00090728 | 0.0018146 | 0.0034669
12 | 0.0009607 | 0.0020401 | 0.0035425 | 19.2376 | 0.00092151 | 0.001843 | 0.0035337
13 | 0.0010905 | 0.0022768 | 0.0041944 | 18.7185 | 0.0010553 | 0.0021105 | 0.0041819
14 | 0.001058 | 0.0023206 | 0.0042085 | 18.7083 | 0.0010581 | 0.0021161 | 0.004196
15 | 0.00095337 | 0.0020694 | 0.0036817 | 19.1183 | 0.00095074 | 0.0019015 | 0.0036722
16 | 0.00095919 | 0.0020664 | 0.0036468 | 19.1477 | 0.00094344 | 0.0018869 | 0.0036374
Median (pg/mL) | 0.00093408 | 0.0020162 | 0.0035384 | 19.2411 | 0.00092066 | 0.0018413 | 0.0035297
Min (pg/mL) | 0.00087188 | 0.0018476 | 0.0031944 | 18.7083 | 0.00084671 | 0.0016934 | 0.0031873
Max (pg/mL) | 0.001104 | 0.0023613 | 0.0042085 | 19.5604 | 0.0010581 | 0.0021161 | 0.004196

## 19_R1_Model
R1 Model Fit (nested sampling) vs R2 Model (beta->inf) — IL-6 dataset
Method: dynesty nested sampling of the binomial-form quasi-likelihood, nlive=500, bound=multi; logZ and Bayes factors below are descriptive quasi-evidence measures, not exact integer-count Bayesian evidence
Physical prior: beta >= 1 (each bead has at least 1 binding site)
Parameter | R2 (beta->inf) | R1 (beta free) | R1 nominal 95% interval (quasi)
kappa | 8.2265 | 7.9956 | [7.9086, 8.0861]
beta | inf (R2 approx) | 22.46 | [17.57, 31.29]
b | 0.003712 | 0.003510 | [0.003091, 0.003941]
Model Comparison
Metric | R2 | R1 | Difference / Interpretation
quasi-logL (quasi-MLE) | -124824.28 | -124799.23 | 25.05
n_params | 2 | 3 | 1
AICc (descriptive, quasi) | 249653.48 | 249606.45 | Δ = -47.02
quasi-logZ (nested) | -124838.80 | -124817.44 | quasi-logBF = 21.36 ± 0.45
Descriptive quasi-Bayes factor |  |  | R1 strongly preferred; not exact count-data evidence
R2_AEB | 0.997695 | 0.998415
Nested Sampling Diagnostics
Quantity | R1 | R2
quasi-logZ | -124817.44 ± 0.33 | -124838.80 ± 0.30
niter | 9498 | 7689
ncall | [1 1 1 ... 1 1 1] | [1 1 1 ... 1 1 1]
ESS (Kish) | 1840
Bimodality Check
Mode | Fraction | kappa (median [95% CI]) | beta (median [95% CI])
A (beta < ~30) | 97.7% | 7.9944 [7.9081, 8.0782] | 22.41 [17.57, 29.36]
B (beta >= ~30) | 2.3% | 8.0760 [8.0200, 8.1383] | 33.51 [31.67, 43.86]
Physical interpretation: | single intermediate-valency mode (beta ~ 22, >95% of posterior mass); posterior is NOT bimodal
Identifiability: | beta bounded away from 1 and infinity -> identifiable at this kappa; R2 approximation error <1% at beta = 22
Note: | identifiable beta in a calibration experiment does NOT yield calibration-free M0 for unknown samples
Derived Quantities (R1)
Omega = N*beta | 1.12e+07
kappa*Omega = K*V*N_A | 8.981e+07
Note: This is a calibration experiment (M known at each
dilution point). beta identifiability here does NOT imply
calibration-free absolute quantification. See SI S2c.5.
R1 Per-point Predictions
Conc (pg/mL) | k | n | P_obs | P_R2 | P_R1 | AEB_R2 | AEB_R1
0.0000 | 85.6 | 29568 | 0.002896 | 0.003712 | 0.003486 | 0.0037 | 0.0035
0.0000 | 123.8 | 33529 | 0.003693 | 0.003712 | 0.003486 | 0.0037 | 0.0035
0.0328 | 783.3 | 31110 | 0.025178 | 0.024011 | 0.024313 | 0.0243 | 0.0246
0.0328 | 800.1 | 30257 | 0.026444 | 0.024011 | 0.024313 | 0.0243 | 0.0246
0.0984 | 1730.7 | 27297 | 0.063401 | 0.063376 | 0.064627 | 0.0655 | 0.0668
0.0984 | 2223.6 | 33491 | 0.066393 | 0.063376 | 0.064627 | 0.0655 | 0.0668
0.2960 | 3830.5 | 23171 | 0.165314 | 0.172613 | 0.175957 | 0.1895 | 0.1935
0.2960 | 6384.6 | 35706 | 0.178809 | 0.172613 | 0.175957 | 0.1895 | 0.1935
0.8880 | 13280.3 | 31713 | 0.418765 | 0.429368 | 0.434358 | 0.5610 | 0.5698
0.8880 | 13471.4 | 30509 | 0.441555 | 0.429368 | 0.434358 | 0.5610 | 0.5698
2.6640 | 25090.3 | 31098 | 0.806814 | 0.812803 | 0.811536 | 1.6756 | 1.6688
2.6640 | 24884.5 | 30145 | 0.825495 | 0.812803 | 0.811536 | 1.6756 | 1.6688
8.0000 | 22722.5 | 22988 | 0.988450 | 0.993424 | 0.991120 | 5.0244 | 4.7239
8.0000 | 22692.0 | 22866 | 0.992392 | 0.993424 | 0.991120 | 5.0244 | 4.7239
24.0000 | 28320.0 | 28320 | 0.999998 | 1.000000 | 0.999995 | 15.0657 | 12.1499
24.0000 | 28759.9 | 28760 | 0.999996 | 1.000000 | 0.999995 | 15.0657 | 12.1499