## 1_Raw_Data
Concentration (aM) | k_avg | P_pos (%) | Estimated n (beads/well) | Measurement CV (%) | Poisson CV (%)
0 | 1 | 0.0016 | 62500 | 87 | 122
0.35 | 3 | 0.0086 | 34883.7209 | 75 | 55
0.7 | 5 | 0.0099 | 50505.0505 | 63 | 46
3.5 | 22 | 0.0413 | 53268.7651 | 10 | 21
7 | 38 | 0.0713 | 53295.9327 | 15 | 16
35 | 237 | 0.4461 | 53127.1015 | 1 | 7
70 | 385 | 0.8183 | 47048.7596 | 5 | 5
350 | 1787 | 3.3802 | 52866.6943 | 2 | 2
700 | 4036 | 7.5865 | 53199.7627 | 5 | 2
3500 | 15634 | 30.6479 | 51011.6517 | 3 | 1
7000 | 24836 | 44.5296 | 55774.1368 | 1 | 1

## 2_TCS_PerPoint
Conc (aM) | k_avg | P_obs | M_hat (molecules) | CV (%) | Delta_low | Delta_up | Exact_low | Exact_up | LR_low | LR_up
0.35 | 3 | 5.6468e-05 | 12.9789 | 158.6841 | -27.3874 | 53.3451 | 6.3169e-07 | 81.5561 | 0 | 69.8082
0.7 | 5 | 9.4114e-05 | 36.7615 | 72.3285 | -15.3521 | 88.875 | 6.3169e-07 | 116.0544 | 0 | 105.0916
3.5 | 22 | 0.0004141 | 238.9499 | 23.3449 | 129.6181 | 348.2817 | 141.2755 | 373.4377 | 144.2863 | 364.0119
7 | 38 | 0.00071527 | 429.304 | 17.0797 | 285.5923 | 573.0157 | 297.1639 | 597.7084 | 300.4023 | 588.6335
35 | 237 | 0.004461 | 2801.6391 | 6.5483 | 2442.0636 | 3161.2146 | 2453.4571 | 3185.0406 | 2457.1585 | 3176.6334
70 | 385 | 0.0072468 | 4571.7837 | 5.1218 | 4112.8449 | 5030.7225 | 4124.2113 | 5054.4486 | 4127.9971 | 5046.1291
350 | 1787 | 0.033636 | 21591.0525 | 2.3682 | 20588.8925 | 22593.2124 | 20600.2019 | 22616.9987 | 20604.3227 | 22608.7624
700 | 4036 | 0.075969 | 49887.7981 | 1.5752 | 48347.5974 | 51427.9988 | 48358.8819 | 51452.2607 | 48363.4077 | 51443.891
3500 | 15634 | 0.29428 | 220144.9759 | 0.80391 | 216676.3098 | 223613.6419 | 216687.4996 | 223641.7196 | 216694.6831 | 223632.0684
7000 | 24836 | 0.46748 | 398038.6909 | 0.64513 | 393005.7825 | 403071.5992 | 393016.8547 | 403105.0182 | 393027.6606 | 403093.5382

## 3_Fit_Parameters
Parameter | Value | Description
kappa (TCS) | 0.57926 | TCS R2 depletion coefficient
b (TCS background) | 3.5923e-05 | TCS non-specific background probability
gamma = 1/(1+kappa) | 0.63321 | Linear coefficient (R3)
R2 (TCS, AEB scale) | 0.99505 | Weighted R² for TCS R2 model
R2 (4PL) | 0.99922 | Weighted R² for 4PL model
A (4PL, fixed) | 1.8823e-05 | 4PL lower asymptote
B (4PL) | 1.014 | 4PL slope
C (4PL) | 3.8619 | 4PL midpoint
D (4PL) | 2.9811 | 4PL upper asymptote

## 4_Bootstrap_CI
Model | Parameter | Point estimate | Bootstrap 2.5% | Bootstrap 97.5% | Relative width
4PL | B (4PL) | 1.014 | 0.96929 | 1.0752 | 0.10443
4PL | C (4PL) | 3.8619 | 1.9489 | 21.077 | 4.9531
4PL | D (4PL) | 2.9811 | 1.7848 | 14.3602 | 4.2184
TCS | kappa (TCS) | 0.57926 | 0.34672 | 0.66349 | 0.54684
TCS | b (TCS) | 3.5923e-05 | 1.7447e-05 | 0.00021982 | 5.6335

## 5_Correlations
Model | Param 1 | Param 2 | Pearson rho
4PL | B | C | -0.32948
4PL | B | D | -0.24053
4PL | C | D | 0.97932
TCS | kappa | b | 0.2043

## 6_LoB_LoD_LoQ
Metric | R2 (molecules) | R3 (molecules) | Concentration (aM, R2) | Concentration (aM, R3)
LoB | 24.8701 | 24.8697 | 0.41299 | 0.41298
LoD | 86.15 | 54.0441 | 1.4306 | 0.89744
LoQ low | 318.5253 | 318.2946 | 5.2894 | 5.2855
LoQ high | 8056159.771 |  | 133778.8072

## 7_R3_Linear
Parameter | TCS R2 prediction | R3 independent fit
gamma | 0.63321 | 0.70409
kappa (from gamma) | 0.57926 | 0.42027
Relative deviation (%) | 0 | 11.1939

## 8_D_Profile_Likelihood
D (fixed) | logL (binomial) | B (fitted) | C (fitted) | ΔlogL | Interpretation
0.7 | -95991.8442 | 1.3478 | 0.44987 | -580.4385 | essentially flat (D poorly identified)
0.8 | -95787.2004 | 1.2813 | 0.56044 | -375.7947 | essentially flat (D poorly identified)
0.9 | -95665.407 | 1.2328 | 0.67853 | -254.0013 | essentially flat (D poorly identified)
1 | -95588.6761 | 1.1961 | 0.80279 | -177.2704 | essentially flat (D poorly identified)
1.5 | -95449.2285 | 1.0972 | 1.4899 | -37.8228 | essentially flat (D poorly identified)
2 | -95420.0686 | 1.0535 | 2.2496 | -8.6629 | within 2σ but data cannot resolve
2.9189 | -95411.4214 | 1.0157 | 3.7565 | -0.015664 | MLE neighbor (1σ)
3 | -95411.4069 | 1.0135 | 3.8944 | -0.0011634 | MLE neighbor (1σ)
4 | -95413.4887 | 0.99475 | 5.6414 | -2.083 | within 1σ formal 95% CI
5 | -95416.5322 | 0.98387 | 7.4541 | -5.1265 | within 2σ but data cannot resolve
10 | -95426.2569 | 0.96292 | 17.0593 | -14.8512 | within 2σ but data cannot resolve
20 | -95432.7806 | 0.95283 | 37.5442 | -21.3749 | within 2σ but data cannot resolve
30 | -95435.1831 | 0.94951 | 58.882 | -23.7774 | within 2σ but data cannot resolve
40 | -95436.4257 | 0.94787 | 80.7425 | -25.02 | within 2σ but data cannot resolve
50 | -95437.1843 | 0.94687 | 102.99 | -25.7786 | within 2σ but data cannot resolve
60 | -95437.6954 | 0.94626 | 125.5057 | -26.2897 | within 2σ but data cannot resolve
70 | -95438.0631 | 0.94579 | 148.2889 | -26.6574 | within 2σ but data cannot resolve
80 | -95438.3403 | 0.9454 | 171.3328 | -26.9346 | within 2σ but data cannot resolve
90 | -95438.5568 | 0.94514 | 194.5168 | -27.1511 | within 2σ but data cannot resolve
100 | -95438.7305 | 0.94494 | 217.84 | -27.3248 | within 2σ but data cannot resolve
200 | -95439.5179 | 0.94396 | 457.9487 | -28.1122 | within 2σ but data cannot resolve
500 | -95439.995 | 0.94336 | 1216.4502 | -28.5893 | within 2σ but data cannot resolve
1000 | -95788.6221 | 0.82847 | 8365.5903 | -377.2164 | essentially flat (D poorly identified)
10000 | -95444.1497 | 0.95578 | 25287.6658 | -32.744 | essentially flat (D poorly identified)
BEST (MLE) |  | 1.014 | 3.8619 | 0 | ΔlogL=0 reference

## 9_Shapiro_Wilk
Model | Residual type | Shapiro-Wilk p | Conclusion (α=0.05)
4PL | Deviance (binomial) | 0.015592 | Reject normality — overfit signature
TCS | Deviance (binomial) | 0.18694 | Cannot reject (consistent with model)

## 10_Deviance_Residuals
Concentration (aM) | 4PL deviance residual | TCS deviance residual | Note
0 | -9.5809e-07 | -0.72415
0.35 | 0.09024 | -0.36686
0.7 | 0.12355 | -0.19698
3.5 | 0.42529 | 0.52454
7 | -0.239 | 0.1065
35 | 2.7392 | 4.146
70 | -0.57392 | 1.5632
350 | -4.3157 | 1.0134 | high deviance residual under 4PL
700 | 2.9453 | 10.4017 | TCS P_pos plateau miss
3500 | -0.24467 | 5.3752
7000 | 0.033719 | -8.9722 | leverage: 4PL fits exactly via D, TCS over-predicts 2.2%

## 11_Kappa_Scan
κ (fixed) | logL (binomial) | R² (AEB scale) | max ¦AEB residual¦ | low-conc max ¦resid¦ | high-conc max ¦resid¦ | Note
0.1 | -98899.7838 | 0.79992 | 0.32791 | 0.0023165 | 0.32791
0.2 | -97415.3999 | 0.89153 | 0.24808 | 0.0015185 | 0.24808
0.3 | -96449.2621 | 0.94655 | 0.18053 | 0.00084575 | 0.18053
0.4 | -95870.8856 | 0.97731 | 0.12263 | 0.00068952 | 0.12263
0.5 | -95586.9051 | 0.99172 | 0.072453 | 0.00093194 | 0.072453
0.5793 | -95525.1755 | 0.99505 | 0.037185 | 0.0010986 | 0.037185 | MLE
0.6 | -95529.0573 | 0.99501 | 0.028555 | 0.0011387 | 0.028555
0.7 | -95646.5101 | 0.99066 | 0.038517 | 0.0013142 | 0.038517
0.8 | -95900.8009 | 0.98103 | 0.055712 | 0.0014614 | 0.055712
1 | -96708.3949 | 0.95173 | 0.10306 | 0.0018447 | 0.10306
1.5 | -99686.6988 | 0.84141 | 0.20803 | 0.0024842 | 0.20803
2 | -103166.5104 | 0.63326 | 0.27747 | 0.0023745 | 0.27747
5 | -121030.8237 | -11.7154 | 0.44228 | 0.012168 | 0.44228
10 | -136521.8932 | -81.7832 | 0.50279 | 0.031498 | 0.50279

## 12_Resid_vs_Kappa
Concentration (aM) | κ=0.300 | κ=0.400 | κ=0.500 | κ=0.579 (MLE) | κ=0.700 | κ=1.000
0 | 6.4545e-06 | 1.1142e-06 | -7.3844e-06 | -1.7107e-05 | -3.836e-05 | -0.00014037
0.35 | 3.5688e-06 | 1.1236e-06 | -4.8657e-06 | -1.2824e-05 | -3.1709e-05 | -0.00012907
0.7 | 6.8452e-07 | 1.1345e-06 | -2.3457e-06 | -8.5403e-06 | -2.5056e-05 | -0.00011776
3.5 | -3.5083e-06 | 2.0103e-05 | 3.6696e-05 | 4.4613e-05 | 4.7048e-05 | -8.4653e-06
7 | -0.0001075 | -5.4937e-05 | -1.3252e-05 | 1.2303e-05 | 3.8427e-05 | 2.9407e-05
35 | 0.00040534 | 0.00068952 | 0.00093194 | 0.0010986 | 0.0013142 | 0.0016772
70 | -0.00084575 | -0.00027205 | 0.00022128 | 0.00056433 | 0.0010169 | 0.0018447
350 | -0.00633 | -0.0034402 | -0.00093951 | 0.00081464 | 0.0031623 | 0.0077096
700 | -0.0020684 | 0.0037167 | 0.0087265 | 0.012245 | 0.016961 | 0.026158
3500 | -0.056809 | -0.027862 | -0.0027793 | 0.01485 | 0.038517 | 0.084909
7000 | -0.18053 | -0.12263 | -0.072453 | -0.037185 | 0.010171 | 0.10306

## 13_LOO_PerFold
Fold | Concentration (aM) | logL (4PL hold-out) | logL (TCS hold-out) | ΔlogL (4PL - TCS) | Note
1 | 0 | -12.7819 | -12.8561 | 0.074273
2 | 0.35 | -32.3495 | -32.4995 | 0.14996
3 | 0.7 | -51.3626 | -51.3883 | 0.025704
4 | 3.5 | -193.4635 | -193.5 | 0.036438
5 | 7 | -313.2606 | -313.2206 | -0.039973
6 | 35 | -1525.2462 | -1527.99 | 2.7437
7 | 70 | -2280.8675 | -2281.8226 | 0.95508
8 | 350 | -7836.9068 | -7818.9289 | -17.9779
9 | 700 | -14292.2185 | -14344.9046 | 52.686 | high conc, 4PL advantage
10 | 3500 | -32192.053 | -32223.596 | 31.543 | high conc, 4PL advantage
11 | 7000 | -36712.9774 | -36905.2041 | 192.2268 | leverage fold (7000 aM, 73% of AICc gap)
SUMMARY
Mean Δ |  |  |  | 23.8566
SE Δ |  |  |  | 17.7848
t-statistic |  |  |  | 1.3414 | n.s. (¦t¦<2)
Median Δ |  |  |  | 0.14996 | robust to leverage
N (valid folds) |  |  |  | 11
TOST equivalence test
Margin (±logL) |  |  |  | 87.0054 | 1% of mean per-fold ¦logL¦
Mean Δ 90% CI |  |  |  | [-8.378, 56.091]
TOST p |  |  |  | 0.002631 | EQUIVALENT
Smallest passing margin (logL) |  |  |  | 56.091 | 0.645% of per-fold ¦logL¦

## 14_R1_Model
R1 Model Fit (nested sampling) vs R2 Model (beta->inf) — sβG dataset
Method: dynesty nested sampling, nlive=500, bound=multi
Parameter | R2 (beta->inf) | R1 (beta free) | R1 95% CI
kappa | 0.5793 | 0.5832 | [0.5656, 0.6163]
beta | inf (R2 approx) | 1343.39 | [1.00, 80484.12]
b | 0.000036 | 0.000042 | [0.000009, 0.000095]
Model Comparison
Metric | R2 | R1 | Difference / Interpretation
logL (MLE) | -95525.18 | -95520.04 | 5.13
n_params | 2 | 3 | 1
AICc | 191055.85 | 191049.51 | Δ = -6.34
logZ (nested) | -95543.41 | -95543.55 | logBF = -0.14 ± 0.50
Bayes factor |  |  | B_12 = 0.8670 (inconclusive)
R2_AEB | 0.995051 | 0.995377
Nested Sampling Diagnostics
Quantity | R1 | R2
logZ | -95543.55 ± 0.37 | -95543.41 ± 0.34
niter | 12063 | 9544
ncall | [1 1 1 ... 1 1 1] | [1 1 1 ... 1 1 1]
ESS (Kish) | 2698
Bimodality Check
Mode | Fraction | kappa (median [95% CI]) | beta (median [95% CI])
A (beta < ~30) | 24.2% | 0.6086 [0.5975, 0.6206] | 1.01 [1.00, 1.05]
B (beta >= ~30) | 75.8% | 0.5802 [0.5652, 0.5939] | 3708.48 [73.36, 84645.80]
Physical interpretation: | Mode A = monovalent (analog-like) binding; Mode B = hypervalent regime where the R2 (beta->inf) limit is effectively exact
Why bimodal = non-identifiable: | two physically distinct valency regimes fit the data equally well; kappa is nearly identical across modes
Consequence: | Omega = N*beta cannot be separated, so M0 is unknown; digital finite-kappa (Simoa) still requires external calibration
Mode-B regime characterization (descriptive)
Quantity | Value | Reference | Note
mode-B medians | kappa=0.5802, beta=3708, b=4.15e-05
AEB-scale R^2 vs data | 0.9957 | 4PL fit = 0.9992; R2 limit = 0.9951
local Hill slope (median) | 0.991 | 4PL B = 1.014
mode-B R1 vs 4PL prediction (mean ¦diff¦) | 11.7% | max = 39.6% | over the data range; R1 has no AEB plateau, so asymptotic 4PL parameters are not recoverable
Note: This is a calibration experiment (M known at each
dilution point). beta identifiability here does NOT imply
calibration-free absolute quantification. See SI S2c.5.
R1 Per-point Predictions
Conc (aM) | k | n | P_obs | P_R2 | P_R1 | AEB_R2 | AEB_R1
0.0000 | 1.0 | 53127 | 0.000019 | 0.000036 | 0.000035 | 0.0000 | 0.0000
0.3500 | 3.0 | 53127 | 0.000056 | 0.000069 | 0.000068 | 0.0001 | 0.0001
0.7000 | 5.0 | 53127 | 0.000094 | 0.000103 | 0.000101 | 0.0001 | 0.0001
3.5000 | 22.0 | 53127 | 0.000414 | 0.000370 | 0.000362 | 0.0004 | 0.0004
7.0000 | 38.0 | 53127 | 0.000715 | 0.000703 | 0.000689 | 0.0007 | 0.0007
35.0000 | 237.0 | 53127 | 0.004461 | 0.003367 | 0.003303 | 0.0034 | 0.0033
70.0000 | 385.0 | 53127 | 0.007247 | 0.006687 | 0.006563 | 0.0067 | 0.0066
350.0000 | 1787.0 | 53127 | 0.033636 | 0.032850 | 0.032346 | 0.0334 | 0.0329
700.0000 | 4036.0 | 53127 | 0.075969 | 0.064587 | 0.063827 | 0.0668 | 0.0660
3500.0000 | 15634.0 | 53127 | 0.294275 | 0.283724 | 0.284399 | 0.3337 | 0.3346
7000.0000 | 24836.0 | 53127 | 0.467483 | 0.486930 | 0.483209 | 0.6673 | 0.6601